## ASSAY
DATE | STABILITY Analysis of Valnemulin HCl in Biovalinat | [7 empty] | Date:
2024-03-31 | ASSAY OF | [8 empty] | Zero time
Name | STD | Purity% | 24209 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | %
Acual weight of ST/mg | 554 |  | 998 | 3687.666 | 3745.6575 | 3760.2529
Area 1 | 3677.9688 | Denisty/gm | 24210 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | %
Area 2 | 3688.1201 | 1 | 991 | 3690.4001 | 3755.4441 | 3789.655
Area 3 | 3700.3113 | ser-wt of T/mg | 24211 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | %
Avg. |  | 1000 | 989 | 3692.5549 | 3805.26 | 3772.3083
SD |  | ser-wt of ST/mg
RSD% |  | 532.5
Potency of STD | 99.73
Loss On Drying | 5.6
DATE
2024-06-30 | [9 empty] | After three months
Name | STD | Purity% | Biovalinat B.NO24209 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | % |  | Batch No. | ZERO | THREE | SIX | RSD
Acual weight of ST/mg | 550 |  | 1001 | 3730.54 | 3737.8176 | 3745.3679 | [10 empty] | %
Area 1 | 3709.5869 | Denisty/gm | Biovalinat B.NO24210 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | % | [6 empty] | %
Area 2 | 3695.5886 | 1 | 989 | 3722.2949 | 3722.4209 | 3741.1067 | 3738.3984 | 3741.106 | 3742.2363 | [7 empty] | %
Area 3 | 3698.2393 | ser-wt of T/mg | Biovalinat B.NO24211 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | %
Avg. |  | 1000 | 978 | 3691.3364 | 3693.2373 | 3685.3005 |  |  |  | 3695.1868 | 3694.0735 | 3688.0981
SD |  | ser-wt of ST/mg
RSD% |  | 532.5
DATE
2024-09-30 | [9 empty] | After six months
Name | STD | Purity% | 24209 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | %
Acual weight of ST/mg | 548 |  | 1001 | 3730.54 | 3737.8176 | 3745.3679
Area 1 | 3695.5886 | Denisty/gm | 24210 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | %
Area 2 | 3698.2393 | 1 | 996 | 3738.3984 | 3741.106 | 3742.2363
Area 3 | 3709.5869 | ser-wt of T/mg | 24211 | Area 1 | Area 2 | Area 3 | Avg. | SD | RSD% | %
Avg. |  | 1000 | 979 | 3695.1868 | 3694.0735 | 3688.0981
SD |  | ser-wt of ST/mg
RSD% |  | 532.5
Assay= RT/RST xCst/CtxDxp |  |  |  | Batch No. |  | ZERO | THREE | SIX
RT=AVERAG AREA OF TEST | [8 empty] | %
RST=AVERAG AREA OF ST | [8 empty] | %
Cst= CONC OF ST | [8 empty] | %
Ct= CONC OF TEST
D= WEIGHT PER ML FOR LIQUID IN POWDER =1
P= PURITY OF ST BY %
(FQC04902)
Note on Q21: hP:
Note on I43: hP: