## DOXYCYCLINE
Calculation of validation of DOXYCYCLINE
|  |  | Zero time | 10:10 |  | Stability time | 18:20 |  | Difference | 8:10
|  | 50 st | 80 st | 100 st | 160 st | 200 st
[9 empty] | CONC(µg/ml) | ABS(AVG) |  | LOD
[8 empty] | ST50% | 50 | #DIV/0! |  | 1# | 52.17
[8 empty] | ST80% | 80 | #DIV/0! |  | 2# | 53.01
[8 empty] | ST 100% | 100 | #DIV/0! |  | 3# | 53.36
[8 empty] | ST 160% | 160 | #DIV/0! |  | AVG | 52.8467
| average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | ST 200% | 200 | #DIV/0! |  | CONC | #DIV/0!
| SD |  |  | #DIV/0! |  |  |  | SLOPE |  | #DIV/0!
| RSD |  |  | #DIV/0! |  |  |  | I |  | #DIV/0!
[8 empty] | R |  | #DIV/0! |  | LOQ
1#
|  |  | t80 | t100 | t160 | [6 empty] | 2#
3#
[8 empty] | theo(w conc) | beak area | found conc | recovery | AVG | #DIV/0!
[7 empty] | T80% | 80 |  | #DIV/0! | #DIV/0! | CONC | #DIV/0!
[8 empty] | 80 |  | #DIV/0! | #DIV/0!
[8 empty] | 80 |  | #DIV/0! | #DIV/0!
|  | average | #DIV/0! | #DIV/0! | #DIV/0! |  | T100% | 100 |  | #DIV/0! | #DIV/0!
|  | SD |  | #DIV/0! |  |  |  | 100 |  | #DIV/0! | #DIV/0!
|  | RSD |  | #DIV/0! |  |  |  | 100 |  | #DIV/0! | #DIV/0!
[7 empty] | T160% | 160 |  | #DIV/0! | #DIV/0!
[8 empty] | 160 |  | #DIV/0! | #DIV/0!
[8 empty] | 160 |  | #DIV/0! | #DIV/0!
|  | analyst |  |  |  | flow
|  | st 100% | analyst 2 |  |  | FLOW 1 | ST100% | FLOW 2 |  | Min | #DIV/0!
| 1# |  |  |  | 1#
| 2# |  |  |  | 2# |  |  |  |  | Max | #DIV/0!
| 3# |  |  |  | 3#
| 4# |  |  |  | 4#
| 5# |  |  |  | 5#
| POOLED AVG | #DIV/0! |  |  | POOLED AVG | #DIV/0!
| POOLED SD | #DIV/0! |  |  | POOLED SD | #DIV/0!
| POOLED RSD | #DIV/0! |  |  | POOLED RSD | #DIV/0!
MOBILE
|  | MOBILE 1 | ST100% | MOBILE 2 |  |  | COLUM
| 1# | [5 empty] | st 100% | COLUM 2
| 2# |  |  |  |  | 1#
| 3# |  |  |  |  | 2#
| 4# |  |  |  |  | 3#
| 5# |  |  |  |  | 4#
| POOLED AVG | #DIV/0! |  |  |  | 5#
| POOLED SD | #DIV/0! |  |  |  | POOLED AVG | #DIV/0!
| POOLED RSD | #DIV/0! |  |  |  | POOLED SD | #DIV/0!
[6 empty] | POOLED RSD | #DIV/0!
| STABILITY |  |  |  | SECOND DAY
[6 empty] | st 100% | SECOND DAY
| 1# |  |  |  | 1# |  |  |  |  | St 100% | Test 100%
| 2# |  |  |  | 2# |  |  |  | 1#
| 3# |  |  |  | 3# |  |  |  | 2#
| 4# |  |  |  | 4# |  |  |  | 3#
| 5# |  |  |  | 5# |  |  |  | 4#
| 8:10 |  |  |  | POOLED AVG | #DIV/0! |  |  | 5#
| 8:10 |  |  |  | POOLED SD | #DIV/0! |  |  | average | #DIV/0! | #DIV/0!
| 8:10 |  |  |  | POOLED RSD | #DIV/0!
8:10
8:10
| POOLED AVG | #DIV/0!
| POOLED SD | #DIV/0!
| POOLED RSD | #DIV/0!
System precision | #DIV/0!
r | #DIV/0!
Min | #DIV/0!
Max | #DIV/0!
Method precision | #DIV/0!
Analyst | #DIV/0!
Day | #DIV/0!
Column | #DIV/0!
Stability | #DIV/0!
Slope | #DIV/0!
Intercept | #DIV/0!
T 100%
Found conc. | #DIV/0!
Recovery | #DIV/0!

## BROMHEXINE
Calculation of validation of BROMHEXINE
|  |  | Zero time | 10:10 |  | Stability time | 18:20 |  | Difference | 8:10
|  | 50 st | 80 st | 100 st | 160 st | 200 st
|  | 137.2871 | 211.9677 | 261.7826 | 419.9565 | 521.8778 |  |  | CONC(µg/ml) | ABS(AVG) |  | LOD
|  | 135.1307 | 210.7291 | 260.8195 | 424.2415 | 520.6359 |  | ST50% | 4.4 | 135.5004 |  | 1# | 52.17
|  | 134.0835 | 211.098 | 262.1325 | 416.1415 | 517.8823 |  | ST80% | 7.04 | 211.2649 |  | 2# | 53.01
|  |  |  | 260.8266 |  |  |  | ST 100% | 8.8 | 261.3824 |  | 3# | 53.36
|  |  |  | 261.3507 |  |  |  | ST 160% | 14.08 | 420.1132 |  | AVG | 52.8467
| average | 135.5004 | 211.2649 | 261.3824 | 420.1132 | 520.132 |  | ST 200% | 17.6 | 520.132 |  | CONC | 1.7792
| SD |  |  | 0.58087 |  |  |  | SLOPE |  | 29.2863
| RSD |  |  | 0.22223 |  |  |  | I |  | 5.5701
[8 empty] | R |  | 0.99995 |  | LOQ
1#
|  |  | t80 | t100 | t160 | [6 empty] | 2#
|  |  | 214.3986 | 265.5095 | 422.2215 | [6 empty] | 3#
|  |  | 214.3201 | 266.7046 | 423.7868 |  |  | theo(w conc) | beak area | found conc | recovery | AVG | #DIV/0!
|  |  | 215.0085 | 267.5928 | 421.8486 |  | T80% | 7.04 | 214.3986 | 7.1306 | 101.2869 | CONC | #DIV/0!
|  |  |  | 267.3743 |  |  |  | 7.04 | 214.3201 | 7.1279 | 101.2488
|  |  |  | 268.7479 |  |  |  | 7.04 | 215.0085 | 7.1514 | 101.5827
|  | average | 214.5757 | 267.1858 | 422.619 |  | T100% | 8.8 | 265.5095 | 8.8758 | 100.8615
|  | SD |  | 1.1919 |  |  |  | 8.8 | 266.7046 | 8.9166 | 101.3253
|  | RSD |  | 0.4461 |  |  |  | 8.8 | 267.5928 | 8.947 | 101.6699
[7 empty] | T160% | 14.08 | 422.2215 | 14.2269 | 101.043
[8 empty] | 14.08 | 423.7868 | 14.2803 | 101.4226
[8 empty] | 14.08 | 421.8486 | 14.2141 | 100.9526
|  | analyst |  |  |  | flow
|  | st 100% | analyst 2 |  |  | FLOW 1 | ST100% | FLOW 2 |  | Min | 100.8615
| 1# | 261.7826 | 267.4624 |  | 1# | 273.9386 | 261.7826 | 271.9331
| 2# | 260.8195 | 265.1486 |  | 2# | 271.9175 | 260.8195 | 273.8179 |  | Max | 101.6699
| 3# | 262.1325 | 267.6193 |  | 3# | 270.6587 | 262.1325 | 270.6601
| 4# | 260.8266 | 265.3528 |  | 4# | 272.6212 | 260.8266 | 272.669
| 5# | 261.3507 | 269.7736 |  | 5# | 270.0903 | 261.3507 | 270.4629
| POOLED AVG | 264.2269 |  |  | POOLED AVG | 268.3788
| POOLED SD | 3.2773 |  |  | POOLED SD | 5.2497
| POOLED RSD | 1.2403 |  |  | POOLED RSD | 1.9561
MOBILE
|  | MOBILE 1 | ST100% | MOBILE 2 |  |  | COLUM
| 1# | 270.1632 | 261.7826 | 274.2688 |  |  | st 100% | COLUM 2
| 2# | 274.5023 | 260.8195 | 276.5792 |  | 1# | 261.7826 | 269.1473
| 3# | 274.871 | 262.1325 | 272.1343 |  | 2# | 260.8195 | 264.7282
| 4# | 272.7164 | 260.8266 | 275.7664 |  | 3# | 262.1325 | 265.6737
| 5# | 274.9061 | 261.3507 | 276.2746 |  | 4# | 260.8266 | 263.9966
| POOLED AVG | 269.9396 |  |  |  | 5# | 261.3507 | 260.0509
| POOLED SD | 6.474 |  |  |  | POOLED AVG | 263.0509
| POOLED RSD | 2.3983 |  |  |  | POOLED SD | 2.8289
[6 empty] | POOLED RSD | 1.0754
| STABILITY |  |  |  | SECOND DAY
[6 empty] | st 100% | SECOND DAY
| 1# | 261.7826 |  |  | 1# | 261.7826 | 267.0478 |  |  | St 100% | Test 100%
| 2# | 260.8195 |  |  | 2# | 260.8195 | 263.1918 |  | 1# | 261.7826 | 265.5095
| 3# | 262.1325 |  |  | 3# | 262.1325 | 261.7844 |  | 2# | 260.8195 | 266.7046
| 4# | 260.8266 |  |  | 4# | 260.8266 | 261.1614 |  | 3# | 262.1325 | 267.5928
| 5# | 261.3507 |  |  | 5# | 261.3507 | 261.7503 |  | 4# | 260.8266 | 267.3743
| 8:10 | 262.2228 |  |  | POOLED AVG | 262.1848 |  |  | 5# | 261.3507 | 268.7479
| 8:10 | 266.7794 |  |  | POOLED SD | 1.8448 |  |  | average | 261.3824 | 267.1858
| 8:10 | 263.6481 |  |  | POOLED RSD | 0.70362
| 8:10 | 263.0495
| 8:10 | 267.516
| POOLED AVG | 263.0128
| POOLED SD | 2.3602
| POOLED RSD | 0.89738
System precision | 0.22223
r | 0.99995
Min | 100.8615
Max | 101.6699
Method precision | 0.4461
Analyst | 1.2403
Day | 0.70362
Column | 1.0754
Stability | 0.89738
Slope | 29.2863
Intercept | 5.5701
T 100% | 265.5095
Found conc. | 8.8758
Recovery | 100.8615