## Tylosin C
CALCULATION OF VALIDATION OF Tylosin C
Degredation
|  |  | Zero time |  |  | Stability time | (8:38:32 AM) |  | Difference |  |  | Area of acitive in acid | Area of acitive in base | Area of acitive in oxidation
[11 empty] | Area | 2973.4981 | 2928.6536 | 2977.7788
|  | ST-50 | ST-80 | ST-100 | ST-160 | ST-200 |  |  |  |  | Result of active
|  | 108.1473 | 111.5579 | 128.3255 | 110.4781 | 118.2438 |  |  |  |  | results of Degredation
|  | 107.4406 | 119.8277 | 127.9748 | 110.2727 | 119.6696 |  |  | CONC(µg/ml) | ABS(AVG) |  |  | LOD
|  | 107.7259 | 122.051 | 123.5894 | 117.2281 | 115.8916 |  | ST50% |  |  |  |  | 1# | 52.17
|  |  |  | 115.6977 |  |  |  | ST80% |  |  |  |  | 2# | 53.01
|  |  |  | 115.2517 |  |  |  | ST 100% | 171 |  |  |  | 3# | 53.36
|  |  |  | 114.5289 |  |  |  | ST 160% |  |  |  |  | AVG
| average | [6 empty] | ST 200% |  |  |  |  | CONC
| SD | [6 empty] | SLOPE
| RSD | [6 empty] | I
[8 empty] | R |  |  |  |  | LOQ
[13 empty] | 1# | 131.9
|  |  | t80 | t100 | t160 | [7 empty] | 2# | 132.73
|  |  | 115.4568 | 121.7223 | 119.9385
|  |  | 117.9063 | 124.0209 | 122.9364 | [7 empty] | 3# | 132.41
|  |  | 114.7352 | 121.3216 | 121.4915 |  |  | theo(w conc) | beak area | found conc | recovery |  | AVG
|  |  |  | 123.2362 |  |  | T80% | [5 empty] | CONC
122.5661
123.4724
|  | average |  |  |  |  | T100%
|  | SD | [10 empty] | ST-50
|  | RSD | [10 empty] | ST-80
[7 empty] | T160% | [5 empty] | ST-100
ST-160
ST-200
|  | analyst |  |  |  | flow
|  | st 100% | analyst 2 |  |  | FLOW 1 | ST100% | FLOW 2 |  | Min
| 1# |  | 132.1501 |  | 1# | 127.8073 |  | 129.2964
| 2# |  | 133.6204 |  | 2# | 128.9235 |  | 127.8229
| 3# |  | 133.3202 |  | 3# | 128.9094 |  | 128.2599 |  | Max
| 4# |  | 132.4556 |  | 4# | 127.8546 |  | 129.863
| 5# |  | 134.6858 |  | 5# | 128.3266 |  | 127.3499
| 6# |  | 132.5661 |  | 6# | 127.2645 |  | 129.075
| POOLED AVG |  |  |  | POOLED AVG
| POOLED SD |  |  |  | POOLED SD
| POOLED RSD |  |  |  | POOLED RSD
MOBILE
|  | MOBILE 1 | ST100% | MOBILE 2 |  |  | COLUMN
| 1# | 128.1084 |  | 128.3394 |  |  | st 100% | COLUMN 2
| 2# | 128.8288 |  | 128.5362 |  | 1# |  | 126.3017
| 3# | 129.0147 |  | 127.6215 |  | 2# |  | 125.3047
| 4# | 128.2008 |  | 129.6381 |  | 3# |  | 124.8949
| 5# | 128.5293 |  | 128.0434 |  | 4# |  | 124.045
| 6# | 128.8446 |  | 129.7386 |  | 5# |  | 125.8784
| POOLED AVG |  |  |  |  | 6# |  | 128.0119
| POOLED SD |  |  |  |  | POOLED AVG
| POOLED RSD |  |  |  |  | POOLED SD
POOLED RSD
| STABILITY |  |  |  | SECOND DAY
[6 empty] | st 100% | SECOND DAY
| 1# |  |  |  | 1# |  |  |  |  | St 100% | Test 100%
| 2# |  |  |  | 2# |  |  |  | 1#
| 3# |  |  |  | 3# |  |  |  | 2#
| 4# |  |  |  | 4# |  |  |  | 3#
| 5# |  |  |  | 5# |  |  |  | 4#
| 6# |  |  |  | 6# |  |  |  | 5#
| 8:39 | 135.6218 |  |  | POOLED AVG |  |  |  | 6#
| 8:39 | 136.3126 |  |  | POOLED SD |  |  |  | Average
| 8:39 | 134.8088 |  |  | POOLED RSD
| 8:39 | 135.1085
| 8:39 | 135.7673
| 8:39 | 136.9602
POOLED AVG
POOLED SD
POOLED RSD
System precision
r
Min
Max
Method precision
Analyst
Day
Column
Stability
Slope
Intercept
T 100%
Found conc.
Recovery

## Tylosin B
CALCULATION OF VALIDATION OF Tylosin B
Degredation
|  |  | Zero time |  |  | Stability time | (8:38:32 AM) |  | Difference |  |  | Area of acitive in acid | Area of acitive in base | Area of acitive in oxidation
[11 empty] | Area | 2973.4981 | 2928.6536 | 2977.7788
|  | ST-50 | ST-80 | ST-100 | ST-160 | ST-200 |  |  |  |  | Result of active
|  | 78.9876 | 124.7475 | 151.5109 | 246.8549 | 302.0746 |  |  |  |  | results of Degredation
|  | 79.4811 | 126.3121 | 151.3718 | 248.5449 | 309.2563 |  |  | CONC(µg/ml) | ABS(AVG) |  |  | LOD
|  | 81.077 | 126.9882 | 148.1807 | 250.2417 | 308.7973 |  | ST50% |  |  |  |  | 1# | 52.17
|  |  |  | 150.4662 |  |  |  | ST80% |  |  |  |  | 2# | 53.01
|  |  |  | 151.9803 |  |  |  | ST 100% | 171 |  |  |  | 3# | 53.36
|  |  |  | 151.174 |  |  |  | ST 160% |  |  |  |  | AVG
| average | [6 empty] | ST 200% |  |  |  |  | CONC
| SD | [6 empty] | SLOPE
| RSD | [6 empty] | I
[8 empty] | R |  |  |  |  | LOQ
[13 empty] | 1# | 131.9
|  |  | t80 | t100 | t160 | [7 empty] | 2# | 132.73
|  |  | 129.4312 | 148.1655 | 247.6417
|  |  | 128.2195 | 147.9395 | 248.2225 | [7 empty] | 3# | 132.41
|  |  | 129.4932 | 149.4176 | 247.2496 |  |  | theo(w conc) | beak area | found conc | recovery |  | AVG
|  |  |  | 147.5439 |  |  | T80% | [5 empty] | CONC
148.1237
148.9168
|  | average |  |  |  |  | T100%
|  | SD | [10 empty] | ST-50
|  | RSD | [10 empty] | ST-80
[7 empty] | T160% | [5 empty] | ST-100
ST-160
ST-200
|  | analyst |  |  |  | flow
|  | st 100% | analyst 2 |  |  | FLOW 1 | ST100% | FLOW 2 |  | Min
| 1# |  | 142.3925 |  | 1# | 145.2135 |  | 146.0637
| 2# |  | 145.1389 |  | 2# | 145.3319 |  | 146.1862
| 3# |  | 143.6027 |  | 3# | 146.8157 |  | 146.0058 |  | Max
| 4# |  | 143.1488 |  | 4# | 145.8214 |  | 151.0613
| 5# |  | 143.5759 |  | 5# | 150.3406 |  | 146.3412
| 6# |  | 142.6107 |  | 6# | 144.7326 |  | 145.9761
| POOLED AVG |  |  |  | POOLED AVG
| POOLED SD |  |  |  | POOLED SD
| POOLED RSD |  |  |  | POOLED RSD
MOBILE
|  | MOBILE 1 | ST100% | MOBILE 2 |  |  | COLUMN
| 1# | 143.6848 |  | 145.892 |  |  | st 100% | COLUMN 2
| 2# | 143.5703 |  | 146.8552 |  | 1# |  | 154.0687
| 3# | 146.5884 |  | 144.5658 |  | 2# |  | 147.8689
| 4# | 145.7777 |  | 146.1288 |  | 3# |  | 150.2248
| 5# | 147.4272 |  | 145.6029 |  | 4# |  | 147.8431
| 6# | 145.462 |  | 146.0344 |  | 5# |  | 148.4527
| POOLED AVG |  |  |  |  | 6# |  | 147.6091
| POOLED SD |  |  |  |  | POOLED AVG
| POOLED RSD |  |  |  |  | POOLED SD
POOLED RSD
| STABILITY |  |  |  | SECOND DAY
[6 empty] | st 100% | SECOND DAY
| 1# |  |  |  | 1# |  |  |  |  | St 100% | Test 100%
| 2# |  |  |  | 2# |  |  |  | 1#
| 3# |  |  |  | 3# |  |  |  | 2#
| 4# |  |  |  | 4# |  |  |  | 3#
| 5# |  |  |  | 5# |  |  |  | 4#
| 6# |  |  |  | 6# |  |  |  | 5#
| 8:39 | 139.2263 |  |  | POOLED AVG |  |  |  | 6#
| 8:39 | 142.2732 |  |  | POOLED SD |  |  |  | Average
| 8:39 | 139.678 |  |  | POOLED RSD
| 8:39 | 139.9187
| 8:39 | 141.9061
| 8:39 | 141.9194
POOLED AVG
POOLED SD
POOLED RSD
System precision
r
Min
Max
Method precision
Analyst
Day
Column
Stability
Slope
Intercept
T 100%
Found conc.
Recovery

## Tylosin D
CALCULATION OF VALIDATION OF Tylosin D
Degredation
|  |  | Zero time |  |  | Stability time | (8:38:32 AM) |  | Difference |  |  | Area of acitive in acid | Area of acitive in base | Area of acitive in oxidation
[11 empty] | Area | 2973.4981 | 2928.6536 | 2977.7788
|  | ST-50 | ST-80 | ST-100 | ST-160 | ST-200 |  |  |  |  | Result of active
|  | 70.4252 | 112.3342 | 135.0982 | 212.5473 | 8337.4531 |  |  |  |  | results of Degredation
|  | 70.3592 | 116.3836 | 132.9118 | 211.9836 | 8489.6904 |  |  | CONC(µg/ml) | ABS(AVG) |  |  | LOD
|  | 69.7507 | 107.6904 | 121.99 | 6884.2109 | 8510.3252 |  | ST50% |  |  |  |  | 1# | 52.17
|  |  |  | 123.6781 |  |  |  | ST80% |  |  |  |  | 2# | 53.01
|  |  |  | 124.2046 |  |  |  | ST 100% | 171 |  |  |  | 3# | 53.36
|  |  |  | 123.9992 |  |  |  | ST 160% |  |  |  |  | AVG
| average | [6 empty] | ST 200% |  |  |  |  | CONC
| SD | [6 empty] | SLOPE
| RSD | [6 empty] | I
[8 empty] | R |  |  |  |  | LOQ
[13 empty] | 1# | 131.9
|  |  | t80 | t100 | t160 | [7 empty] | 2# | 132.73
|  |  | 115.2315 | 135.4788 | 227.3063
|  |  | 108.8243 | 133.0527 | 6875.9775 | [7 empty] | 3# | 132.41
|  |  | 118.6004 | 137.7319 | 208.1265 |  |  | theo(w conc) | beak area | found conc | recovery |  | AVG
|  |  |  | 132.5183 |  |  | T80% | [5 empty] | CONC
133.5075
133.6586
|  | average |  |  |  |  | T100%
|  | SD | [10 empty] | ST-50
|  | RSD | [10 empty] | ST-80
[7 empty] | T160% | [5 empty] | ST-100
ST-160
ST-200
|  | analyst |  |  |  | flow
|  | st 100% | analyst 2 |  |  | FLOW 1 | ST100% | FLOW 2 |  | Min
| 1# |  | 134.7053 |  | 1# | 122.1629 |  | 124.5537
| 2# |  | 122.4496 |  | 2# | 122.9365 |  | 123.3341
| 3# |  | 134.2161 |  | 3# | 121.5654 |  | 123.0682 |  | Max
| 4# |  | 122.4302 |  | 4# | 134.8125 |  | 135.1339
| 5# |  | 130.5143 |  | 5# | 133.8411 |  | 122.7114
| 6# |  | 123.6838 |  | 6# | 133.0506 |  | 122.0702
| POOLED AVG |  |  |  | POOLED AVG
| POOLED SD |  |  |  | POOLED SD
| POOLED RSD |  |  |  | POOLED RSD
MOBILE
|  | MOBILE 1 | ST100% | MOBILE 2 |  |  | COLUMN
| 1# | 133.2138 |  | 122.7352 |  |  | st 100% | COLUMN 2
| 2# | 121.8399 |  | 134.8393 |  | 1# |  | 132.109
| 3# | 133.6597 |  | 133.1469 |  | 2# |  | 126.3521
| 4# | 122.6242 |  | 131.8317 |  | 3# |  | 126.2123
| 5# | 136.0176 |  | 133.4049 |  | 4# |  | 138.6208
| 6# | 122.822 |  | 134.5693 |  | 5# |  | 125.7923
| POOLED AVG |  |  |  |  | 6# |  | 125.9524
| POOLED SD |  |  |  |  | POOLED AVG
| POOLED RSD |  |  |  |  | POOLED SD
POOLED RSD
| STABILITY |  |  |  | SECOND DAY
[6 empty] | st 100% | SECOND DAY
| 1# |  |  |  | 1# |  |  |  |  | St 100% | Test 100%
| 2# |  |  |  | 2# |  |  |  | 1#
| 3# |  |  |  | 3# |  |  |  | 2#
| 4# |  |  |  | 4# |  |  |  | 3#
| 5# |  |  |  | 5# |  |  |  | 4#
| 6# |  |  |  | 6# |  |  |  | 5#
| 8:39 | 121.3145 |  |  | POOLED AVG |  |  |  | 6#
| 8:39 | 131.2535 |  |  | POOLED SD |  |  |  | Average
| 8:39 | 132.3704 |  |  | POOLED RSD
| 8:39 | 120.659
| 8:39 | 133.5617
| 8:39 | 130.2183
POOLED AVG
POOLED SD
POOLED RSD
System precision
r
Min
Max
Method precision
Analyst
Day
Column
Stability
Slope
Intercept
T 100%
Found conc.
Recovery

## Tylosin A
CALCULATION OF VALIDATION OF Tylosin A
Degredation
|  |  | Zero time |  |  | Stability time | (8:38:32 AM) |  | Difference |  |  | Area of acitive in acid | Area of acitive in base | Area of acitive in oxidation
[11 empty] | Area | 2973.4981 | 2928.6536 | 2977.7788
|  | ST-50 | ST-80 | ST-100 | ST-160 | ST-200 |  |  |  |  | Result of active
|  | 2223.2466 | 3521.238 | 4079.9006 | 13.871 | 118.2438 |  |  |  |  | results of Degredation
|  | 2230.2268 | 3517.3835 | 4081.731 | 15.0837 | 119.6696 |  |  | CONC(µg/ml) | ABS(AVG) |  |  | LOD
|  | 2229.2432 | 3552.6318 | 4060.4661 | 117.2281 | 115.8916 |  | ST50% |  |  |  |  | 1# | 52.17
|  |  |  | 4055.2637 |  |  |  | ST80% |  |  |  |  | 2# | 53.01
|  |  |  | 4054.2859 |  |  |  | ST 100% | 171 |  |  |  | 3# | 53.36
|  |  |  | 4055.811 |  |  |  | ST 160% |  |  |  |  | AVG
| average | [6 empty] | ST 200% |  |  |  |  | CONC
| SD | [6 empty] | SLOPE
| RSD | [6 empty] | I
[8 empty] | R |  |  |  |  | LOQ
[13 empty] | 1# | 131.9
|  |  | t80 | t100 | t160 | [7 empty] | 2# | 132.73
|  |  | 3558.166 | 4124.3213 | 6877.6211
|  |  | 3573.7312 | 4100.8125 | 6881.7954 | [7 empty] | 3# | 132.41
|  |  | 3573.6953 | 4140.689 | 121.4915 |  |  | theo(w conc) | beak area | found conc | recovery |  | AVG
|  |  |  | 4119.2896 |  |  | T80% | [5 empty] | CONC
4128.8003
4140.9604
|  | average |  |  |  |  | T100%
|  | SD | [10 empty] | ST-50
|  | RSD | [10 empty] | ST-80
[7 empty] | T160% | [5 empty] | ST-100
ST-160
ST-200
|  | analyst |  |  |  | flow
|  | st 100% | analyst 2 |  |  | FLOW 1 | ST100% | FLOW 2 |  | Min
| 1# |  | 4114.0381 |  | 1# | 4098.9595 |  | 4134.5635
| 2# |  | 4129.7192 |  | 2# | 4121.8975 |  | 4143.2695
| 3# |  | 4132.1748 |  | 3# | 4124.8897 |  | 4131.7896 |  | Max
| 4# |  | 4126.4756 |  | 4# | 4122.2022 |  | 4139.8779
| 5# |  | 4143.1567 |  | 5# | 4123.2593 |  | 4143.0742
| 6# |  | 4140.1025 |  | 6# | 4126.9136 |  | 4143.2022
| POOLED AVG |  |  |  | POOLED AVG
| POOLED SD |  |  |  | POOLED SD
| POOLED RSD |  |  |  | POOLED RSD
MOBILE
|  | MOBILE 1 | ST100% | MOBILE 2 |  |  | COLUMN
| 1# | 4083.7725 |  | 4132.0229 |  |  | st 100% | COLUMN 2
| 2# | 4088.4565 |  | 4124.0137 |  | 1# |  | 4380.0898
| 3# | 4095.7524 |  | 4118.646 |  | 2# |  | 4203.9868
| 4# | 4101.6074 |  | 4126.3911 |  | 3# |  | 4222.0185
| 5# | 4122.854 |  | 4128.4126 |  | 4# |  | 4225.9688
| 6# | 4123.7075 |  | 4126.8784 |  | 5# |  | 4214.0991
| POOLED AVG |  |  |  |  | 6# |  | 4194.874
| POOLED SD |  |  |  |  | POOLED AVG
| POOLED RSD |  |  |  |  | POOLED SD
POOLED RSD
| STABILITY |  |  |  | SECOND DAY
[6 empty] | st 100% | SECOND DAY
| 1# |  |  |  | 1# |  |  |  |  | St 100% | Test 100%
| 2# |  |  |  | 2# |  |  |  | 1#
| 3# |  |  |  | 3# |  |  |  | 2#
| 4# |  |  |  | 4# |  |  |  | 3#
| 5# |  |  |  | 5# |  |  |  | 4#
| 6# |  |  |  | 6# |  |  |  | 5#
| 8:39 | 4087.1274 |  |  | POOLED AVG |  |  |  | 6#
| 8:39 | 4090.512 |  |  | POOLED SD |  |  |  | Average
| 8:39 | 4094.8728 |  |  | POOLED RSD
| 8:39 | 4091.4316
| 8:39 | 4092.5039
| 8:39 | 4096.1162
POOLED AVG
POOLED SD
POOLED RSD
System precision
r
Min
Max
Method precision
Analyst
Day
Column
Stability
Slope
Intercept
T 100%
Found conc.
Recovery